## Sheet1
Inspection/ Assessment | Daily | Monthly | Quarterly | Six Months | Annually | Biennial
RISK MANAGEMENT
Risk Assessment Facility
AHSE Risk Assessment
Bio-Med for Equipment
Anesthesia Equipment
Equipment Maintained
QUALITY ASSURANCE
G-CODES
Quality Net Reporting
CDC NHSN Reporting
Study (One CMS)
Benchmarking
Pharmacy Consultant
Pharmacy Inventory
HIPAA Plan and Policy
CPR Drills (PEDS, ADULT)
MH Drill / Inservice
INFECTION CONTROL
Infection Control Plan
Inf. Prev CE's document
Sterilizers PM
Cleaning Logs
Curtains Cleaned
IC Training
HEP B and TB Reviewed
LOGS
Attest, Bowie Dick, Metri
Temp and Humidity
Refrigerator Temps
AED or Defibrillator
Eye Wash
Glucometer | Weekly
Instrument Reprocessing | As Directed
Inspection / Assessment | Daily | Monthly | Quarterly | Six Months | Annually | Biennial
CREDENTIALING FILES
PERSONNEL
Competencies
Evaluations
CPR
Orientation - Upon Hire
Corporate Compliance
PHYSICIAN / CRNA
Reappointment
Peer Review
Infection Control training
LIFE SAFETY
Two Disaster Drills
Fire Drills
Hazard Vulnerability Assess
Exit Signs
Emergency Lighting
UPS
Generator | Weekly
Fire Extinguishers
Sprinkler Testing
Fire Alarm Testing
Piped in Gases
Fire Doors
Penetrations
Electrical Outlets
Med-Gas Training
Fire Extinguisher Training
Waste Anesthesia Gas TX
DOT Training
3-Year Tests
Generator Under Load
UPS Under load
5-Year Tests
Hydrant Flow Tests
Stand Pipe Flow Tests